The Ministry of Health of Ukraine

National Pirogov Memorial Medical University, Vinnytsya

The direction – 1201 “Medicine”

Specialty – 7.12010001 “General Medicine”

«Considered»				  		   «Approved»

on the methodical council of   		                   by the Academic Council

therapeutic disciplines				         of the Faculties of Medicine №1, №2

Protocol №__ from ____ 2019		                   Protocol № __ from _____ 2019

Chairman ______________		                   Chairman ______________

___________ prof. Serkova V.K.		         ___________ prof. Vlasenko O.V.

Instruction to the station №8

"Performing of professional manipulations"

At the station, the students must greet, introduce themself and present a student identification card and a route sheet.

Having one of the tasks, to be able to conduct professional manipulation:

1. Defibrillation according to an algorithm for managment with sudden death.

2. Measurement of blood pressure on the arm and interpret the result.

3. Recording of ECG in different leads.

4. Conducting vagal maneuvers to treat paroxysmal supraventricular tachycardia.

Student should be able to:

1. For defibrillation:

- Position of the patient on the back (contact with water or metal surface is not allowed).

- Remove clothing from the patient’s chest. Ensure the skin site is clean and dry.

- Wet the napkins with a saline solution or apply a gel to the contact surface of the electrodes.

- Switch on a defibrillator and set defibrillation mode (asynchronous).

- Set the required minimum level of discharge energy - 200 J.

- Turn on the Charger button.

- Place the defibrillation pads correctly on the patient. Use the anterior-lateral position. One pad is placed on the midaxillary line over the 6th left intercostal space on the left side of the body and the other on the right parasternal area over the 2nd intercostal space.

- Make sure that the long-wave ventricular fibrillation continues on the ECG monitor (speak: "On the monitor, the large-wave ventricular fibrillation").

- Tightly press the pads to the skin of the patient with a force of 8 kg.

- Give instructions "LEAVE FROM THE PATIENT" (nobody should touch the patient, bed or equipment). Ensure in the performance of instructions

- Press the "Discharge" button.

- Explain that further cardiopulmonary resuscitation is performed without evaluating the rhythm. 5 cycles of 30:2 are carried out and defibrillator electrodes are superimposed to evaluate the rhythm and the effectiveness of defibrillation.

NB! On the station it is evaluated the skill to perform defibrillation and knowledge of the sequence of the algorithm of action.

2. Measuring of blood pressure:

1. Eliminate the factors that affect the accuracy of blood pressure (smoking, coffee, tea, medicines in 30 minutes before the measurement).

2. Ask the patient to sit and put his arm on the table so that the arm is at the level with the heart.

3. Apply a mechanical tonometer cuff on the arm at the heart level (the lower edge is 2-2.5 cm above the elbow fossa), and one finger is freely held between the cuff and the shoulder surface.

4. Define pulse on a. radialis and then quickly pump air into the cuff to 70 mm Hg. Next you need to pump every 10 mm Hg to the value at which the pulse disappears.

5. Start slowly (2 mm per second) to release air. The indicator, at which it appears again during the release of air, corresponds to the systolic BP.

6. Palpate pulse on a. ulnaris and put the phonendoscope over the place of palpation.

7. Pump air 20-30 cm above the values ​​of systolic BP, which were determined by previous palpation. Then slowly release air (2 mm per second). Determine the first phase of the Korotkov's tone (appearance) and the V phase (disappearance), which correspond to systolic BP and diastolic BP.

8. Fully open the valve cuff and take off from the patient's arm.

9. Comment that the pressure should be measured at least 2 times on each hand.

10. Specify the results of the measurement of BP and make a conclusion.

3. To record ECG in standard leads:

- Ask the patient to release hands and feet from the clothes

- Ask to lie on his back on a solid surface (couch) and straighten arms and legs, relax, breathe calmly

- Lubricate the electrodes with a gel

- Put electrodes: red - on the right hand, yellow - on the left hand, green - on the left leg, black - on the right leg.

- Attach the electrodes to the wires of the ECG-machine

- Switch on the appliance and wait for loading of the parameters of the device, adjust its amplification - make calibration of 1 mV

- Set the recording speed.

- The ECG curves in the standard leads will appear on the instrument display. To register the ECG, press the "Print" button and hold it to record 5 cardiocycles on paper.

- Switch off the device and disconnect the electrodes, sign the ECG (patient's name, date, age, hours)

- To offer napkins to the patient to remove the gel from the skin

4. To record ECG on the augmented limb leads:

- Ask the patient to release hands and feet from the clothes

- Ask to lie on his back on a solid surface (couch) and straighten arms and legs, relax, breathe calmly

- Lubricate the electrodes with a gel

- Put electrodes: red - on the right hand, yellow - on the left hand, green - on the left leg, black - on the right leg.

- Attach the electrodes to the wires of the ECG-machine

- Switch on the appliance and wait for loading of the parameters of the device, adjust its amplification - make calibration of 1 mV

- Set the recording speed.

- The ECG curves in the standard leads will appear on the instrument display. To register an ECG using the button, go to the aVR, aVL and aVF tabs and click on the Print button and hold it to write 5 cardiocycles on paper.

- Switch off the device and disconnect the electrodes, sign the ECG (patient's name, date, age, hours)

- To offer napkins to the patient to remove the gel from the skin

5. To record the ECG on the chest leads

- Ask the patient to release the chest from the clothes

- Ask to lie on his back on a solid surface (couch) and straighten arms and legs, relax, breathe calmly

- Lubricate the electrodes with a gel

- Inform, that the electrodes on the limbs should be applied

- Put electrodes: in appropriate places on the surface of the chest, which determine by the palpation:

• electrode C1 - (red) - in the IV intercostal space on the right side of the sternum;

• electrode C2 - (yellow) - in the IV intercostal space on the left edge of the sternum;

• electrode C3 - (green) - at the level of IV rib on the left parasternal line;

• electrode C4 - (brown) - in the V intercostal space on the left mid-clavicular line;

• electrode C5 - (black) - in V intercostal space on the left anterior axillary line;

- electrode C6 - (violet) - in the V intercostal space on the left middle axillary line.

- Attach the electrodes to the wires of the ECG-machine

- Switch on the appliance and wait for loading of the parameters of the device, adjust its amplification - make calibration of 1 mV

- Set the recording speed.

The ECG curves in standard leads will appear on the device display. To register the ECG on the chest leads use the button to go to leads V1, V2, V3 and press the "Print" button and hold it to write 5 cardiocycles on paper. Next, use the button to go to the V4, V5, V6 and press the "Print" button and hold it to write 5 cardiocycles on paper.

- Switch off the device and disconnect the electrodes, sign the ECG (patient's name, date, age, hours)

- To offer napkins to the patient to remove the gel from the skin.

6. For the vagal test - carotid sinus massage

- Make sure that the ECG demonstrates paroxysmal supraventrical tachycardia (inform)

- Check the pulse on the carotid arteries using the phonendoscope to make sure that the paroxysmal tachycardia continues and there is no murmur that is a contraindication to the test.

- Place the manican on a firm surface in a lying position on the back, with a slight throw back his head;

- Put electrodes to record ECG (inform)

- Find the carotid sinus massage point: identify the angle of the patient’s jaw and then trace your finger down to cross the line of the upper border of the thyroid cartilage, focusing on the pulsation of carotid artery;

- perform massage (pressing backward in the direction towards the spine) of the carotid sinus of the right carotid artery (only on one side!) for 5-10 sec;

- record ECG (inform).

- if the case of ineffectivity (if the pulse rate has not decreased) perform the test from the left.

For the vagal test - Valsalva maneuver

- Make sure that the ECG demonstrates paroxysmal supraventrical tachycardia (inform)

- Ask the patient to lie on his back on a solid surface;

- Give instructions to the patient, showing and commenting (make a deep breath and exhale through the nose, but the nose is clamped with two fingers and closed mouth with a delay of breath for 15 seconds)

- Ask the patient to take a deep breath and exhale through the nose, but the nose is clamped with two fingers and closed mouth with breath hold for 15 seconds.

- Evaluate the pulse rate after exercising by analyzing that the frequency has decreased.

After completing the skill or ending the time at the station, pick up your route card with a mark on the station and leave the station.